## Slide 1
Pattern Detection in Energy Consumption
Smart Meter Analysis using Machine Learning
Gonçalo Rosa | MSc Data Science | ISCTE | 2025
Supervisors: Prof. Ana Maria de Almeida & Prof. Diana Mendes
Dataset: GoiEner — Spain 2014–2022

## Slide 2
Research Questions & Dataset
GoiEner cooperative — Basque Country & Navarra, Spain
Research Questions
RQ1
How are smart meter data readings structured?
RQ2
How do seasonality, trend and residual components behave?
RQ3
What consumption archetypes exist in the user population?
RQ4
Which anomaly detection algorithms perform best?
Dataset
19,709
users retained after quality filter
8 years
hourly data (2014 – 2022)
~15 M
consumption records
3
COVID periods (pre / in / post)
3
municipalities analysed
25 K+
raw smart meters in source

## Slide 3
Data Pipeline Architecture
End-to-end flow from raw smart meter data to anomaly flags
GoiEner
Dataset
Quality
Filter
STL
Decomposition
User
Clustering
Municipality
Selection
Feature
Engineering
Forecasting
(N-BEATS v2)
Anomaly
Detection
25,559
users
≤5% missing
19,709 kept
Seasonality
Trend · Residuals
k=3 archetypes
10,015 users
Vitoria · Donostia
Pamplona
19 features
(calendar + lags)
MAPE
3.71–5.20%
5 detectors
≥3/5 vote
Chapter 4: Results

## Slide 4
Data Quality & Preprocessing
GoiEner dataset — real-world smart meter reliability challenges
25,559
Raw smart meters in source
19,998
With merged imputed series
19,709
Retained after ≤5% missing filter
COVID Period Segmentation
Pre-COVID
Before March 2020
11,037 users
In-COVID
Mar 2020 – May 2021
14,484 users
Post-COVID
After May 2021
16,442 users
* 10,015 users present in all three periods — used for clustering

## Slide 5
CNAE Sector Analysis — Dataset Composition
Clasificación Nacional de Actividades Económicas · 19,709 users retained
Rank
Sector (CNAE)
Users
%
Share
1
Household production
16,311
80.7%
2
Public administration
612
3.0%
3
Warehousing and logistics
481
2.4%
4
Retail trade
346
1.7%
5
Education
211
1.0%
6
Food and beverage services
210
1.0%
7
Associations
171
0.8%
8
Sports and recreation
126
0.6%
9
Construction, healthcare, IT…
302
1.5%
10
Others (32 sectors)
453
2.3%
Analysis Focus
80.7%
of users are household
production (16,311 users)
90.8%
use a 2-period tariff (p1–p2) residential standard
All results
in Ch. 4 are from municipal
aggregates dominated by
household consumers
Public administration
reviewed separately:
near-perfect seasonality
(Fs ≈ 0.99) vs residential
(Fs ≈ 0.46–0.49)
Findings are specific to residential consumption behaviour

## Slide 6
STL Decomposition — Seasonality (RQ2)
xₜ = Tₜ + Sₜ + Rₜ · Fs = max(0, 1 − Var(Rₜ) / Var(Sₜ + Rₜ)) · Daily period = 24 h
Fs close to 1 → seasonal component explains most variation · Fs close to 0 → little periodic structure
Household Production (n = 16,311)
Period
Mean Fs
Median Fs
Std
Skew
Pre-COVID
0.476
0.457
0.113
+1.42
In-COVID
0.501
0.489
0.112
+0.97
Post-COVID
0.466
0.448
0.112
+1.35
▸ In-period median highest (0.489) — lockdown homogenised daily routines
▸ Post-period returns close to pre (0.448) — gradual recovery to diversity
▸ Positive skew: most households moderately regular; minority highly regular
▸ Weekly Fs not separately decomposed — captured via calendar features in forecasting
Public Administration (n = 612)
Period
Mean Fs
Median Fs
Std
Skew
Pre-COVID
0.863
0.985
0.225
−1.58
In-COVID
0.831
0.988
0.248
−1.25
Post-COVID
0.865
0.990
0.228
−1.56
▸ Near-perfect regularity: median Fs ≈ 0.985–0.990 across all periods
▸ Negative skew: most buildings highly regular; minority very irregular
▸ In-period mean drops to 0.831 — partial closures disrupted schedules
▸ COVID effect opposite to households: lockdown disrupted, not regularised

## Slide 7
STL Decomposition — Trend & Residuals (RQ2)
Per-user slopes and irregular components across 19,709 users · Three COVID periods
Trend Component
Period
Mean slope
Skew
↑ Inc.
Stable
↓ Dec.
Pre-COVID
≈ 0
−5.17
36.4%
36.2%
27.5%
In-COVID
≈ 0
+13.47
45.0%
19.5%
35.5%
Post-COVID
≈ 0
+3.62
55.3%
17.8%
26.9%
Key insight: mean slopes are near-zero in all periods but behaviour
becomes increasingly heterogeneous over time.
▸ Pre: balanced — roughly equal Inc. / Stable / Dec.
▸ In: skew = +13.47 — extreme outliers during lockdown; stable users halved
▸ Post: 55.3% now growing — long-term shift toward higher consumption
▸ Trend and seasonality vary independently (no correlation between Fs and slope)
Residual Component
Period
Extreme %
Med. Kurt.
Mean CV
Var.
Pre-COVID
2.22%
15.0
1.037
0.0437
In-COVID
2.18%
16.2
1.073
0.0443
Post-COVID
2.18%
15–16
1.088
0.0463
▸ Extreme rate (~2.2%) is remarkably stable across all COVID periods
▸ Heavy tails: kurtosis 15–16 (Q3 > 25) — far from Gaussian
▸ CV rising (1.037 → 1.088): residual variability growing over time
▸ Variance slightly higher post-COVID: more dispersed irregular behaviour
▸ 2.2% used as contamination prior to calibrate anomaly detectors in Ch. 4

## Slide 8
Consumption Archetypes — User Clustering (RQ3)
K-Means k=3 on 10,015 users · 4 features: Fs, log-kurtosis, extreme ratio, trend slope
Type A
10.7%
of 10,015 users
▸ Avg Fs: 0.776 (high)
▸ Strong upward trend
▸ Institutional / commercial
▸ Regular operating schedules
Type B
79.7%
of 10,015 users
▸ Avg Fs: 0.455 (moderate)
▸ Balanced trend distribution
▸ Mainstream residential
▸ Typical kurtosis profile
Type C
9.6%
of 10,015 users
▸ Avg Fs: 0.213 (low)
▸ Median kurtosis: 123 (!)
▸ Sporadic / intermittent use
▸ Vacation homes or storage
Silhouette scores: k=2 → 0.459 | k=3 → 0.452 | k=3 chosen: separates sporadic users (Type C) from mainstream

## Slide 9
Feature Engineering — 19 Engineered Features
Two groups: temporal calendar context + consumption momentum history
9 Calendar Features
▸ Day-of-week → sin / cos encoding (circular)
▸ Month → sin / cos encoding (circular)
▸ Week-of-year → sin / cos encoding (circular)
▸ Is weekend flag (binary)
▸ Is public holiday flag (binary)
▸ Is bridge day flag (binary)
Why circular encoding? Day 0 (Mon) and Day 6 (Sun)
are adjacent — integer encoding implies they are far apart.
10 History Features
▸ Lag 1 day (yesterday's consumption)
▸ Lag 7 days (same weekday last week)
▸ Lag 14 days (two weeks ago)
▸ Lag 30 days (approximately one month ago)
▸ Rolling mean 7d · Rolling mean 30d
▸ Rolling std 7d · Rolling ratio 7d
▸ Week-over-week change rate
▸ Day-over-day change rate
Ablation result: shallow models gain 7–14 pp MAPE from history features;
N-BEATS v2 is feature-agnostic (Δ ≤ 0.5 pp).

## Slide 10
Forecasting Models — 11 Models across 5 Families
Prediction-based anomaly detection: forecast residual = anomaly signal
Baselines
Naive · Seasonal Naive (365d) · Rolling Mean (7d)
Ridge Regression · Random Forest (300 trees)
Performance floor — any usable model must beat a year-ago copy
Statistical
SARIMA (1,1,1)×(1,1,1)₇
SARIMAX with calendar exogenous regressors
Classical seasonal ARIMA baseline; SARIMAX tests benefit of structured inputs
LSTM v2
Dual-stream: sequential LSTM (hidden 48, 2 layers, dropout 0.3)
+ static encoder for calendar context
Dominant sequence architecture in reviewed literature (Zhang 2021, Mao 2024)
N-BEATS v2 ★
Adapted from Oreshkin et al. 2020: 3 residual blocks (hidden 64)
Conditioned on full 19-feature matrix as exogenous context
No structural assumptions about series; feature-agnostic; best performer
Hybrid v2
Seasonal Naive 365d forecast as structural baseline
+ residual LSTM corrector
Encodes annual seasonality as domain knowledge rather than learned
Why not Transformers?
Transformer-based models (reviewed in Ch.2) require
substantially larger training sets. Each municipality
has ~1,300 training days — too small for attention
mechanisms to provide reliable gains.
N-BEATS achieves strong performance without
attention overhead on datasets of this scale.

## Slide 11
Forecasting Results — Test Set MAPE (%)
Household production aggregates · Best values per city highlighted · Models with data leakage excluded
Model | Vitoria-Gasteiz | Donostia/S.Seb. | Pamplona/Iruna
Naive | 31.30 | 22.40 | 16.48
Seasonal Naive 365d | 12.30 | 10.68 | 9.25
Rolling Mean 7d | 33.31 | 17.83 | 21.51
Ridge ⚠ | 5.13 | 3.53 | 3.88
Random Forest ⚠ | 7.35 | 5.78 | 3.12
SARIMA | 74.85 | 12.98 | 14.92
SARIMAX | 52.99 | 3.15 | 6.23
LSTM v2 | 9.67 | 6.08 | 6.82
N-BEATS v2 ★ | 5.31 | 3.38 | 4.42
Hybrid v2 | 24.30 | 37.77 | 22.02
Key Takeaways
N-BEATS v2 most consistent
across all 3 cities
SARIMA unreliable: 74.85%
on Vitoria-Gasteiz
SARIMAX city-dependent:
3.15% vs 52.99%
Ridge / RF excluded:
require future cross-
sectional data (leakage)
Hybrid v2 collapses
on 2 of 3 cities
⚠ data leakage — excluded from best-model selection

## Slide 12
Improvements — Feature Engineering Ablation
With 19 features vs calendar-only (9 features) — MAPE delta per model
Model | No FE (cal only) | With FE (19) | Δ MAPE | Interpretation
Naive / S.Naive / Roll.Mean | — | — | 0.00 | No change — no features used
Ridge | 15.75 | 5.13 | −10.63 pp | History features are the primary signal
Random Forest | 16.20 | 7.35 | −8.85 pp | Tree split quality improves with lags
SARIMA → SARIMAX | 74.85 | 52.99 | −21.86 pp | Calendar regressors help, still unreliable
LSTM v2 | 6.34 | 9.67 | +3.33 pp ▲ | Redundant lags confuse the LSTM stream
N-BEATS v2 | 5.11 | 5.31 | +0.20 pp ≈ | Feature-agnostic: learns from raw lookback
Hybrid v2 | 16.39 | 26.59 | +10.20 pp ▲ | Redundancy hurts residual corrector badly
Vitoria-Gasteiz shown; patterns consistent across all three municipalities.

## Slide 13
Bootstrap Validation — 100 Seeds, Trimmed Mean
Top/bottom 5 runs discarded · Confirms single-run results are representative
Model | Vitoria Mean | σ | Donostia Mean | σ | Pamplona Mean | σ | Cross-city avg | σ
N-BEATS v2 ★ | 5.20% | 0.20 | 3.71% | 0.11 | 4.94% | 0.15 | 4.62% | 0.15
LSTM v2 | 8.36% | 0.26 | 5.28% | 0.17 | 5.91% | 0.17 | 6.52% | 0.20
Ridge | 6.43% | 0.00 | 3.73% | 0.00 | 4.71% | 0.00 | 4.96% | 0.00
Random Forest | 5.42% | 0.03 | 3.28% | 0.02 | 4.65% | 0.03 | 4.45% | 0.03
N-BEATS v2 most stable
σ ≤ 0.20 pp across all cities
Single-run result is representative
LSTM v2 more consistent
than single run suggested
Trimmed mean 0.8–1.3 pp better
than Table 4 single run
Ridge is deterministic
Closed-form solution → σ = 0.00
Slightly higher due to split boundary
N-BEATS selected
as base forecaster
Best cross-city avg: 4.62%
Lowest variance among neural models

## Slide 14
Anomaly Detection Framework
Prediction-based: N-BEATS v2 residuals → 5 detectors → majority vote ensemble
N-BEATS v2
Forecast ŷₜ
Residual
eₜ = yₜ − ŷₜ
Feature
Matrix (6D)
5 Independent
Detectors
Ensemble
≥ 3/5 votes
Anomaly
Flags
Feature matrix: residual · rolling z-score · lag-1d · lag-7d · rolling mean 7d · rolling std 7d
5 Detectors
Rolling z-score
|z| > 3 (adaptive 30d window)
Conservative — flags near 0 days
Isolation Forest
Per-city contamination rate
Flags ~2.4% of days
LOF
Local outlier factor
Flags ~2.4% of days
One-Class SVM
Per-city contamination rate
Flags 8–11% of days
K-Means
Cluster on full feature matrix
Flags 24–27% of days
Ensemble Design
▸ ≥ 3 of 5 detectors must agree to flag a day
▸ Reduces false positives vs single-detector
▸ z-score acts as conservative anchor
▸ K-Means / One-Class SVM do heavy lifting
▸ ≥ 2/5 → 5–8% (too many) | ≥ 4/5 → 0–0.7% (too strict)
▸ ≥ 3/5 gives 0.7–1.4% — operationally actionable

## Slide 15
Anomaly Detection Results
Household production aggregates · Per-detector flagging rates · Test set Aug 2021 – Jun 2022
Method | Vitoria (297d) | % | Donostia (294d) | % | Pamplona (276d) | %
Rolling z-score | 0 | 0.0% | 0 | 0.0% | 1 | 0.4%
Isolation Forest | 7 | 2.4% | 7 | 2.4% | 3 | 1.1%
LOF | 7 | 2.4% | 7 | 2.4% | 3 | 1.1%
One-Class SVM | 25 | 8.4% | 29 | 9.9% | 29 | 10.5%
K-Means | 72 | 24.2% | 78 | 26.5% | 73 | 26.4%
Ensemble ≥ 3/5 ★ | 3 | 1.0% | 4 | 1.4% | 2 | 0.7%
Interpretation
K-Means
24–27% — too aggressive
would overwhelm analysts
One-Class SVM
8–11% — still too high
for operational use
z-score
~0% — too conservative
under adaptive window
IF & LOF
~2.4% — consistent with
2.2% empirical prior
Ensemble
0.7–1.4% — operational
human-reviewable rate

## Slide 16
Identified Anomalous Days — December 2021 Cluster
Ensemble-flagged days · Positive residuals: actual > forecast
City | Date | Actual (avg kWh) | Forecast | Residual
Vitoria-Gasteiz | 2021-12-09 | 0.4116 | 0.3224 | +0.0892
Vitoria-Gasteiz | 2021-12-10 | 0.3844 | 0.3911 | −0.0067
Vitoria-Gasteiz | 2021-12-13 | 0.3811 | 0.3242 | +0.0569
Donostia/San Sebastian | 2021-12-09 | 0.5097 | 0.4279 | +0.0818
Donostia/San Sebastian | 2022-01-07 | 0.4342 | 0.3695 | +0.0647
Donostia/San Sebastian | 2022-01-24 | 0.5186 | 0.4540 | +0.0647
Pamplona/Iruna | 2021-12-20 | 0.4949 | 0.3944 | +0.1005
Pamplona/Iruna | 2021-12-25 | 0.3019 | 0.3808 | −0.0789
Omicron Wave — Dec 2021
Cluster concentrated in Dec 2021
across all 3 cities simultaneously.
Coincides with Omicron emergence
in Spain + reintroduction of
social restrictions and remote-
working recommendations.
Positive residuals → demand surge
consistent with people staying indoors.
⚠ Weather Confound
December = peak heating season.
Cold spell would produce the same
pattern. Cannot separate without
external temperature records.

## Slide 17
Key Findings & Future Work
RQ1 — Data Structure
19,709 users retained
90.8% single-tariff
80.7% residential sector
RQ2 — Components
Residential Fs: 0.46–0.49
Post-period: 55.3% growing
Kurtosis 15–16, stable 2.2% tails
RQ3 — Archetypes
Type A: 10.7% — institutional, growing
Type B: 79.7% — mainstream residential
Type C: 9.6% — sporadic, kurtosis 123
RQ4 — Anomaly Detection
N-BEATS v2: MAPE 3.71–5.20% (bootstrap)
Ensemble ≥3/5: 0.7–1.4% anomaly rate
December 2021 cluster: Omicron-consistent
Future Directions
▸ Individual smart meter anomaly detection via user cluster-level forecasting
▸ Add meteorological regressors (temperature) to disentangle weather from behavioural anomalies
▸ Semi-supervised extension using confirmed anomaly examples for quantitative evaluation (recall / F1)
▸ Extend to 2022–2024 energy-price crisis period to test framework robustness to structural breaks
Gonçalo Rosa · goncalo662001@gmail.com · ISCTE · MSc Data Science · 2025